## Analytical Data
DATA TABLE NAME | Kuehn-Lyon June Lake 1 |  |  | Give this data file a name |  |  | BOLD, CAPITAL headings indicate MANDATORY fields | [13 empty] | For glass: REPORT NORMALIZED ANALYTICAL DATA (totals to 100%) AND THE ORIGINAL ANALYTICAL TOTAL (before normalization) - Normalization should account for the substitution of halogens for oxygen
Analytical Method Name |  |  |  | Name of the analytical method; Should match name in method reference | [16 empty] | For minerals: Report unnormalized data and the original totals; For Fe-Ti Oxides, report both total Fe as FeO and recomputed FeO and Fe2O3 per stoichiometry; For Fe-Ti oxides, the method description should explain the precomputation procedure
ANALYTICAL METHOD DOI |  |  |  | DOI for the analytical method description | [16 empty] | REPORT OXIDE WEIGHT PERCENTAGES (m/m%) FOR ALL ELEMENTS EXCEPT HALOGENS (Cl, F); REPORT TOTAL IRON (Fe) AS FeO
TECHNIQUE (EPMA or SEM-EDS) | EPMA |  |  | Choose EPMA or SEM-EDS | [16 empty] | REPORT ALL DATA - Data must not be censored (removed or replaced with zero) on the basis of detection limits or small negative values; Report all glass shard data with analytical totals of 65% or above; Include minor populations and outliers;
INSTRUMENT | ARL SEMQ |  |  | Manufacturer and model of the EPMA or SEM used | [16 empty] | Data lines with large negative values should be set aside as these have potential problems with background calculations or peak selections.
LABORATORY | Concord University |  |  | Host institution or lab where the instrument is located | [16 empty] | Recommended: To avoid rounding error, report at least one extra significant figure (typically 3 decimal places for major elements and 4 decimal places for minor and trace elements)
Recommended: If an explicit correction for time-changing count rates is utilized (e.g. TDI correction on Na), report the magnitude of the correction as a relative percentage for each analysis (e.g. a correction from 3.75 wt% to 4.50 wt% would be a correction of 20% relative)
Sample, grain, and population information | [10 empty] | Eruption information or correlation |  |  |  | Additional analytical metadata | [5 empty] | Analyzed parameters (e.g. SiO2, TiO2, Total, Na-TDI%); Report normalized concentrations in weight percent (m/m%); Use as many columns as needed | [24 empty] | Custom, lab-specific fields (not archived in the EarthChem Synthesis
Metadata Field | SAMPLE ID | IGSN | ANALYZED MATERIAL | ANALYZED AS REFERENCE MATERIAL? Y/N | Sample Description | Sample Mount Name | Data Point Notes | Grain Description | Grain Number | Population Number | Source Volcano or Vent | Tephra Name | GVP Volcano Number | GVP Event or Episode ID | Analyst | ANALYSIS DATE and TIME | ANALYTICAL SESSION ID | Beam Diameter | NUMBER OF ANALYSES | DATA LINE TYPE | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | P2O5 | Cl | F | BaO | Cr2O3 | NiO | Rb2O | SO3 | SrO | V2O3 | ZnO | ZrO2 | ORIGINAL TOTAL | Na-TDI% | K-TDI% | Si-TDI% | Analysis Line Number reported by the instrument software | Sample Label in the Instrument Software; Comments
Definition of Metadata Field | This must be unique within the dataset; It should match the sample ID recorded in separate tephra sample documentation (e.g. SESAR template) | Give International Geo Sample Number (IGSN); This is generated by registering samples e.g. via SESAR http://www.geosamples.org | Type of material targeted or analyzed - e.g. glass (in shards or pumice), groundmass glass (between crystals in a crystal- or microcryst-rich tephra), melt inclusion glass, specific mineral phase (e.g. Fe-Ti oxides, feldspar) | For secondary (quality control) standards indicate yes (Y); For most tephra samples (unless analyzed as a secondary standard) indicate no (N) | Text description of the sample material analyzed; Recommended: Indicate the specific sample fraction e.g. bulk material, a specific sieve size range, a specific density fraction, etc. | Identifier for the specific mount (e.g. disc or thin section) that contains the prepared sample material analyzed; It should match the mount ID recorded in separate tephra sample preparation documentation | Text to note outliers, possible mixed analyses (microcrysts), low analytical totals, etc. | Text to describe individual analyzed grains - e.g. tricuspate shard, acicular shard, inflated pumice, microcryst-bearing pumice, 50 micron low-vesicularity pumice | Give each analyzed grain a unique number or letter designation - e.g. 1, 2, 3 or A, B, C; If multiple analyses were performed on a single grain, the corresponding data lines would share the same grain number | If multiple geochemical populations are present in the same sample, assign a letter or number designation for each; Data lines that share the same geochemistry would share the same population number; Omit for data lines that do not belong to a population (e.g. single point outliers) | The volcano or vent from which the tephra was erupted, if known - e.g. Vesuvius, Mt. St. Helens, Aso caldera, Novarupta | Name or identification of the specific source eruption or correlative tephra deposit, if known - e.g. Bishop tuff, Mazama ash, Younger Toba Tuff, Hekla 4, Spurr 1992 | Volcano number (vnum) of the source volcano as designated by the Smithsonian Global Volcanism Program (GVP ) https://volcano.si.edu/faq/gvp_vnums.cfm | ID assigned to the specific period of eruptive activity (e.g. Mt. St. Helens 1980-1986) or the eruptive event (e.g. Mt. St. Helens May 18, 1980) as designated by the Smithsonian GVP | The person who programed the analysis points into the EPMA or SEM-EDS instrument - Name or ORCID | Analysis time and date stamp from the EPMA or SEM instrument, if available; Otherwise, provide as much detail as available - e.g. YYYY/MM/DD HH:MM:SS or YYYY/MM/DD or YYYY (YYYY is four digit year, MM is two digit month, DD is two digit day, HH is two digit hour, MM is two digit minute, SS is two digit seconds) | Assign each analytical session a unique identification code; This code links together all tephra sample analyses and all secondary standard analyses conducted during the same analytical session; An analytical session contains a single batch of analyses collected during a single time period, typically a single day, and which share the same instrument calibration | If the same analytical method is used with multiple beam diameters, describe the beam diameter (or raster dimensions) for each point analysis, in microns - e.g. 10 | If a data line represents an average or a standard deviation, indicate the total number of analysis points incorporated | Choose from the following options: single (single analysis), mean (mean or average of multiple analyses), stdev (standard deviation of multiple analyses), end-member-mean (mean of points representing an end-member composition that is part of a broader population) | [25 empty] | If your laboratory routinely uses additional data fields, you may include them here